Chairman Gene Neidermyer called the October 12, 2023 meeting of the Earl Township Sewer Authority to order at 6:34 p.m. Present were Gene Neidermyer, Jim Leonard, and Tony Gay. Also present were Noah Zimmerman (Operator), Dan Becker, (Engineer) and Tom Plitt (Township Supervisor).

Jim made a motion to approve the September 14, 2023 minutes.  Gene seconded the motion, and all voted yes.

Tony made a motion to approve the sanitary sewer design for 121 Jalyn Drive, conditioned upon final review of the submission.  The developer’s consultant needs to make one minor modification to the drawings and Becker Engineering can then issue their final letter.  Jim seconded the motion and all voted yes.

Joy reported that Solicitor Cassidy issued the collection letter to Kenneth and Shelly Hanna regarding filing another lien if they don’t make a payment on their sewer rental account.

Sewer Operators Report presented by Noah Zimmerman

- The Plant was within permit limits for September.

- Sam Ringler Trucking hauled 55,000 gallons of bio-solids in September.

- The hauled in waste was 286,750 gallons and $10,036.25 revenue was received in September.

- STP Filter #1 the PLC was found inoperative.  Noah is having Aqua Aerobics come out to repair it.  At this point, it will cost around $2,000.00.

Engineer’s Report presented by Dan Becker

- Kinzer Avenue Pump Station Upgrade:  The Authority authorized award of General Construction Contract 1 to PSI Pumping Solutions, Inc. in the amount of $423,542.00 and Electrical Construction Contract 2 to A.N. Lynch, Co., Inc. in the amount of $253,000.00 at the August 2023 Authority meeting.  Becker distributed the contract and issued the Notice to Proceed on September 18, 2023.  Becker attended the preconstruction meeting on October 10, 2023 and is in process of reviewing the submittals.

PPL indicated that the 3 phase power extension to the Pumping Station site design is complete  and is being QA/QC reviewed.  Becker will continue to push PPL for a schedule for the extension.

Substantial Completion is June 2, 2024 and Final Completion is June 30, 2024.

- York Building Products: Becker attended a preconstruction meeting on August 14, 2023 and received shop drawings for review on September 6, 2023.  Construction is anticipated to commence mid October 2023.

- Pumping Station Flow Metering: Becker provided a letter to the Authority dated February 1, 2022 detailing recommended metering facilities at each remote pumping station along with estimated construction costs.  This document can be utilized for future budgeting purposes.  Becker recommends that the Authority consider submitting a Local Share Account (LSA) grant application for this project.  Grant applications are due November 30, 2023.

- Garden Spot Village Ranck Road Project:  Sanitary sewer construction continues and Becker is providing periodic construction observation.

- Garden Spot Village West Campus:  The developer’s attorney provided correspondence to the Authority and offered a presentation of that correspondence to the Authority at the June 2023 meeting.  Becker reviewed the correspondence provided a DRAFT memo to the Authority at the August 2023 Authority meeting for review.  The Authority Solicitor issued correspondence to the developer’s attorney on September 15, 2023 requesting additional information to substantiate the developer request.

- Short Street Sanitary Sewer Extension:  Becker received an email the developer’s consultant questioning the process to obtain approval for installation of the low pressure sanitary sewer extension along Route 23 east of Short Street.  Becker provided direction to the developer’s consultant on August 28, 2023.  Becker received a submission on September 1, 2023 and is in process of reviewing the submission.

- NHBA 2024 Flow Projections:  Becker issued correspondence to NHBA on September 28, 2023 with the 2024 Authority flow projections.

Monthly Reporting Items

# Project 1:

- Monthly Flows to New Holland: Average daily flows for September: 28,628 gpd (compared to August’s 31,350 gpd and July’s 31,000 gpd).  Eastern Service Area average daily flows for September: 1,185 gpd (compared to August’s 3,948 gpd and July’s 884 gpd).

Project 2/3:

- MEMHP: Reported average daily flow for September: 9,406 gpd (compared to August’s 9,385 gpd and July’s 9,446 gpd).

- GSV: Reported average daily flows for September: 63,144 gpd (compared to August’s 74,286 gpd and July’s 71,646 gpd).  Average total daily flow for September was above the guaranteed 62,869 gpd, so no Guarantee of Capacity Fee assessed for September.  Memory facility flows continue to be below the projected 11 EDUs.

- Monthly STP flows: Reported average daily flows for September: 324,100 gpd (compared to August’s 332,600 gpd and July’s 317,900 gpd).

- Flows from WVA:  Average daily recorded flows for September: 142,317 gpd (compared to August’s 139,313 gpd and July’s 134,462 gpd).

- Connection and Permitting Tracking:  No new EDU connections in September.  For 2023, a total of 5 EDU’s were purchased for 4 properties (5 ETSA and 0 WVA EDUs).

# The balances for the delinquent accounts were:

Project #1 - $     730.38

Project #3 - $22,960.18

The September receipts were:

Project #1 - $  5,599.06

Project #3 - $70,126.37

Jim made a motion to approve the disbursements of checks #3531 - #3537 for Project 1 in the amount of $28,278.71 and checks #7869 – #7895 for Project 3 in the amount of $113,836.09.  Tony seconded the motion and all voted yes.

Meeting adjourned at 6:53 pm

Respectfully submitted,

Joy M Oberholtzer, Appointed Secretary/Treasurer